{"text_format":"2","workbook":"xls","n_sheets":7,"sheets":["RUM","BELAST","RESULT","Vejrdata_KBH","Vejrdata_Porto","Vejrdata_Riyadh","Vejrdata_Malaysia"],"not_rendered":{"charts":4,"images":8,"macros":0,"external_links":1,"defined_names":5,"comments":19,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"RUM","index":0,"n_rows":101,"n_cols":15,"rows_kept":101,"cut":false,"hidden":false,"merged":[[9,10,9,14]],"flags":["formulas_cached_only"]}
[null,"Beregning af døgnmiddeltemperatur"]
[null,"med danske vejrdata"]
[]
[null,"Projekt:"]
[null,null,"lejlighed A"]
[]
[null,"Rumopbygning"]
[]
[null,"Konstruktioner mod det fri",{"$nulls":8},"Hvis der ikke vises kommentarer"]
[null,"Nr","Flade","A","U","Bu",{"$nulls":4},"aktiveres disse under \"Vis\""]
[null,null,null,"m2","W/m2K","W/K"]
[null,1,"Ydervæg",90,0.083,7.470000000000001]
[null,2,null,null,null,0]
[null,3,null,null,null,0]
[null,"4",null,null,null,0]
[null,5,null,null,null,0]
[null,null,"Sum",90,null,7.470000000000001,"= Bukon"]
[]
[null,"Vinduer mod det fri"]
[null,"Nr","Flade","Antal","A","U","Bu","Orient","Hældning","g-værdi","f(beta)","f(afsk)","f(skyg)","f(glas)","Fsol"]
[null,null,null,"stk","m2","W/m2K","W/K","grader","90/45/0","[-]","[-]","[-]","[-]","[-]","[-]"]
[null,"1","Sydvest",1,2.5,0.53,1.3250000000000002,240,90,0.48,0.9,0.9,1,0.8,0.31104]
[null,2,"Syd",2,2.5,0.52,2.6,180,90,0.48,0.9,0.9,1,0.8,0.31104]
[null,3,"Sydøst",1,2.5,0.53,1.3250000000000002,120,90,0.48,0.9,0.9,1,0.8,0.31104]
[null,"4",{"$nulls":4},0,{"$nulls":7},0]
[null,5,{"$nulls":4},0,{"$nulls":7},0]
[null,null,"Sum",4,7.5,null,5.25,"= Buvin"]
[null,"Samlet specifikt varmetab mod det fri Bt",{"$nulls":4},12.72,"= Bt = Bukon+Buvin"]
[]
[null,"Konstruktioner mod jord (gulv) samt omgivende rum"]
[null,"Nr","Flade","A","U","Br","tr","Br*tr",null,null,"Jordtemperatur for område valgt i \"BELAST\""]
[null,null,null,"m2","W/m2K","W/K","°C","W",null,null,7.625000000000001,"°C"]
[null,1,"Gulv",105,0.06,6.3,21,132.29999999999998]
[null,2,"Loft",105,0.08,8.4,21,176.4]
[null,3]
[null,"4",null,null,null,0,null,0]
[null,5,null,null,null,0,null,0]
[null,null,"Sum",210,null,14.7,null,308.7,"=S Br*tr "]
[null,"Samlet specifikt varmetab mod omgivende rum Br",null,null,null,14.7,"= Br"]
[]
[]
[null,"Ventilation"]
[null,null,"Type","Luftskifte","Rum volum","Luftstrøm","Densitet","Varmekap.","BL"]
[null,null,null,"h-1","m3","m3/s","kg/m3","J/kgK","W/K"]
[null,"1","Ventilation",2,270,0.15,1.2,1006,181.07999999999998,null,null,"Kontrol"]
[null,2,"Infiltration",0.5,270,0.0375,1.2,1006,45.269999999999996,null,null,"Samlet luftstrøm"]
[null,null,"Sum",2.5,null,0.1875,null,null,226.34999999999997,null,null,"liter pr. m2 gulvareal"]
[null,"Samlet specifikt varmetab ved ventilation BL",{"$nulls":6},226.34999999999997,"= BL",null,2.0833333333333335]
[]
[null,"Varmeakkumulering"]
[null,null,null,"Akk.evne","Gulvareal","Ba","Beskrivelse af valgt rumopbygning"]
[null,null,"Vælg varmeakkumulering","W/K pr m2","m2","W/K","Rum med flere frie, tunge konstruktioner, fx betondæk og -loft samt skillevægge af tegl eller letbeton"]
[null,"1",null,14,90,1260]
[null,"Samlet specifik varmeakkumulering Ba",null,null,null,1260,"= Ba"]
[]
[]
[null,"BELASTNINGER"]
[null,null,"Gå til ark BELAST"]
{"$rows_empty":36}
[null,null,"Varmeakkumulering"]
[null,null,null,"Nr","Akk.evne",null,"Beskrivelse"]
[null,"Valgt nr",null,null,"W/C/m2"]
[null,4,"Ekstra let",1,6,null,"Rum med lette skillevægge,fx skelet med beklædningsplader, og helt uden tunge konstruktionsdele"]
[null,null,"Middel let",2,8,null,"Rum med indvendige vægge af letbeton og kun uvæsentlige tunge konstruktionsdele"]
[null,null,"Middel tung",3,11,null,"Rum med en tung, dominerende konstruktion, fx betonloft eller 2 - 3 konstruktioner af tegl"]
[null,null,"Ekstra tung",4,14,null,"Rum med flere frie, tunge konstruktioner, fx betondæk og -loft samt skillevægge af tegl eller letbeton"]

{"sheet":"BELAST","index":1,"n_rows":159,"n_cols":23,"rows_kept":159,"cut":false,"hidden":false,"merged":[[2,1,2,2]],"flags":["formulas_cached_only"]}
[null,"Beregning af belastninger",{"$nulls":5},"Eksterne belastninger"]
[null,"Projekt:",{"$nulls":5},"Vælg område"]
[null,"lejlighed A"]
[null,"Interne belastninger"]
[]
[null,"Time","Personbelast","Belysning","Andet","Sum",null,"Vælg måned"]
[null,null,"W","W","W","W"]
[null,1,113,0,0,113]
[null,2,113,0,0,113,null,"Udetemperatur: døgnmiddel",null,21,"°C","= tu"]
[null,3,113,0,0,113,null,null,"variation",12,"°C","= Dtu"]
[null,4,113,0,0,113]
[null,5,113,0,0,113,null,"Solindfald","Areal","Orientering","Hældning","Fsol","Fs","Fsmax"]
[null,6,113,484,0,597,null,"vinduer","m3","grader","grader","[-]","W","W"]
[null,7,152,484,0,636,null,1,2.5,240,90,0.31104,101.08799999999998,623.1167999999999]
[null,8,152,0,0,152,null,2,2.5,180,90,0.31104,100.3104,533.4336]
[null,9,152,0,0,152,null,3,2.5,120,90,0.31104,101.08799999999998,624.6719999999999]
[null,10,152,0,0,152,null,4,0,0,0,0,0,0]
[null,11,152,0,0,152,null,5,0,0,0,0,0,0]
[null,12,152,0,0,152,null,"Samlet solindfald i rum",{"$nulls":4},302.48639999999995,1781.2223999999997]
[null,13,152,0,0,152]
[null,14,152,0,0,152]
[null,15,152,0,0,152,null,"Hjælp til interne belastninger"]
[null,16,152,484,0,636,null,"Personvarme:",null,"Aktivitet","Total","Fri varme","Antal pers","Fri i alt"]
[null,17,152,484,0,636,null,null,null,"met","W/person","W/person",null,"W"]
[null,18,152,484,0,636,null,null,null,1,98.6,66.3,2,132.6]
[null,19,152,484,0,636]
[null,20,133,484,0,617,null,"Belysning:","Niveau","Glødelys","Lysstof","Lavenergi","Vælg effekt","Belysning"]
[null,21,133,484,0,617,null,"almen","lux","W/m2 g.a.","W/m2 g.a.","W/m2 g.a.","W/m2 g.a.","i alt W"]
[null,22,133,484,0,617,null,null,200,52,16,8,4,360]
[null,23,113,0,0,113]
[null,24,113,0,0,113]
[null,"Sum",3279,4356,0,7635,null,null,null,"Særbelysning"]
[null,"Middelværdi",136.625,181.5,0,318.125,"=Fi",null,null,"Kontorudstyr"]
[null,"Max. timeværdi",152,484,0,636,"=Fimax"]
[null,"Min. timeværdi",113,0,0,113,"=Fimin"]
[]
[null,"Pr. m2 gulvareal","Personbelast","Belysning","Andet","Sum"]
[null,null,"W/m2","W/m2","W/m2","W/m2"]
[null,"Middelværdi",1.5180555555555555,2.0166666666666666,0,3.5347222222222223]
[null,"Max. timeværdi",1.6888888888888889,5.377777777777778,0,7.066666666666666]
[null,"Min. timeværdi",1.2555555555555555,0,0,1.2555555555555555]
[]
[null,"Beregninger"]
[null,"Gå til ark RESULT"]
{"$rows_empty":37}
[1,"København"]
[2,"Porto"]
[3,"Riyadh"]
[4,"Malaysia"]
[null,"Valg:",1]
{"$rows_empty":7}
[null,null,null,"Temperatur","efter SBI 202"]
[null,null,null,"Max. døgnmid","Udsving"]
[]
[]
[1,"Januar",1,3.9,5]
[2,"Februar",2,4.2,6]
[3,"Marts",3,6.3,7.5]
[4,"April",4,11.2,9]
[5,"Maj",5,15.9,11.5]
[6,"Juni",6,20,12]
[7,"Juli",7,21,12]
[8,"August",8,20.5,11]
[9,"September",9,16.9,9]
[10,"Oktober",10,13.7,7]
[11,"November",11,10,5]
[12,"December",12,6,5]
[]
[null,"Valgt:",7,null,null,"Solindfald efter RLJ' beregning med BSim"]
[{"$nulls":5},"Hældning 0 og 90"]
[{"$nulls":8},"Døgnmiddel",{"$nulls":8},"Max time"]
[{"$nulls":5},"N","NØ","Ø","SØ","S","SV","V","NV","Vandret","N","NØ","Ø","SØ","S","SV","V","NV","Vandret"]
[{"$nulls":5},"kWh/m2",{"$nulls":8},"kW/m2"]
[{"$nulls":5},1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18]
[{"$nulls":4},1,0.168,0.27,0.372,0.738,1.104,0.738,0.372,0.27,0.48,0.078,0.233,0.388,0.618,0.848,0.618,0.388,0.233,0.26]
[{"$nulls":4},2,0.384,0.5760000000000001,0.768,1.296,1.824,1.296,0.768,0.5760000000000001,1.128,0.183,0.177,0.597,0.939,0.992,0.791,0.597,0.168,0.478]
[{"$nulls":4},3,0.672,1.026,1.38,1.8539999999999999,2.328,1.8539999999999999,1.38,1.026,2.064,0.173,0.312,0.612,0.883,1.004,0.849,0.612,0.227,0.655]
[{"$nulls":4},4,1.224,1.83,2.436,2.73,3.024,2.73,2.436,1.83,3.792,0.204,0.514,0.814,0.856,0.895,0.848,0.814,0.539,0.825]
[{"$nulls":4},5,1.824,2.532,3.24,3.3360000000000003,3.432,3.3360000000000003,3.24,2.532,5.232,0.316,0.669,0.834,0.822,0.763,0.826,0.834,0.583,0.88]
[{"$nulls":4},6,2.112,2.706,3.3,3.246,3.192,3.246,3.3,2.706,5.472,0.277,0.623,0.904,0.792,0.697,0.791,0.904,0.608,0.913]
[{"$nulls":4},7,1.92,2.526,3.132,3.114,3.096,3.114,3.132,2.526,5.136,0.27,0.599,0.874,0.768,0.686,0.765,0.874,0.613,0.892]
[{"$nulls":4},8,1.368,1.968,2.568,2.94,3.312,2.94,2.568,1.968,4.296,0.211,0.424,0.733,0.787,0.862,0.794,0.733,0.438,0.792]
[{"$nulls":4},9,0.864,1.338,1.812,2.262,2.712,2.262,1.812,1.338,2.688,0.187,0.379,0.743,0.822,0.854,0.837,0.743,0.382,0.687]
[{"$nulls":4},10,0.432,0.672,0.912,1.428,1.944,1.428,0.912,0.672,1.368,0.114,0.176,0.572,0.781,0.9,0.755,0.572,0.154,0.5]
[{"$nulls":4},11,0.216,0.318,0.42,0.822,1.224,0.822,0.42,0.318,0.624,0.084,0.079,0.372,0.784,0.861,0.694,0.372,0.075,0.31]
[{"$nulls":4},12,0.12,0.174,0.228,0.486,0.744,0.486,0.228,0.174,0.336,0.057,0.065,0.247,0.54,0.76,0.591,0.247,0.066,0.203]
[]
[{"$nulls":5},"Hældning 45"]
[{"$nulls":8},"Døgnmiddel",{"$nulls":8},"Max time"]
[{"$nulls":5},"N","NØ","Ø","SØ","S","SV","V","NV","Vandret","N","NØ","Ø","SØ","S","SV","V","NV","Vandret"]
[{"$nulls":5},"kWh/m2",{"$nulls":8},"kW/m2"]
[{"$nulls":5},1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18]
[{"$nulls":4},1,0.5260000000000001,0.53,1.2369999999999999,2.818,3.611999999999999,2.8489999999999998,1.1970000000000003,0.53,1.228,0.151,0.152,0.412,0.676,0.747,0.659,0.348,0.151,0.263]
[{"$nulls":4},2,1.046,1.435,3.109,4.5889999999999995,4.882000000000001,3.9020000000000006,2.6540000000000004,1.1969999999999998,2.806,0.3,0.302,0.632,0.906,0.911,0.821,0.531,0.301,0.481]
[{"$nulls":4},3,2.205,2.7569999999999997,4.18,6.19,6.727,5.414000000000001,3.44,2.5759999999999996,4.203,0.322,0.369,0.7,1,1.105,0.959,0.666,0.369,0.658]
[{"$nulls":4},4,3.127,4.492,5.983999999999998,7.2509999999999994,7.68,7.145,6.065,4.462,6.601999999999999,0.373,0.565,0.9,1.04,1.137,1.028,0.83,0.566,0.826]
[{"$nulls":4},5,4.982,5.768,7.525,8.367,8.608,8.151,6.75,5.466000000000001,7.964,0.488,0.707,0.942,1.091,1.095,1.069,0.985,0.699,0.891]
[{"$nulls":4},6,5.13,5.762,7.295999999999999,8.117,8.407,8.362,7.654000000000001,6.38,8.338,0.499,0.762,1.006,1.047,1.029,1.042,1.006,0.745,0.914]
[{"$nulls":4},7,4.782000000000001,5.758000000000001,6.922,7.659,8.083,8.258999999999999,7.701999999999999,6.208999999999999,8.006,0.442,0.743,0.979,1.012,1.02,0.987,0.972,0.737,0.893]
[{"$nulls":4},8,3.267,3.9290000000000003,5.727999999999999,6.895,7.406000000000001,6.8229999999999995,5.547000000000001,4.1370000000000005,6.377000000000001,0.388,0.568,0.879,0.978,1.052,0.969,0.795,0.553,0.793]
[{"$nulls":4},9,1.9629999999999996,3.125999999999999,5.113,6.581,7.048,6.287000000000001,4.72,3.0020000000000007,5.416999999999999,0.32,0.478,0.796,0.951,0.981,0.945,0.808,0.496,0.696]
[{"$nulls":4},10,1.214,1.581,3.19,4.42,5.132999999999999,4.273999999999999,2.844,1.676,2.85,0.208,0.273,0.58,0.84,0.947,0.798,0.575,0.239,0.509]
[{"$nulls":4},11,0.611,0.624,1.4509999999999998,2.9520000000000004,3.587,2.8160000000000003,1.3139999999999998,0.624,1.517,0.126,0.127,0.399,0.691,0.745,0.624,0.382,0.126,0.317]
[{"$nulls":4},12,0.385,0.386,0.6670000000000001,1.7939999999999998,2.33,1.8559999999999999,0.7280000000000001,0.387,0.7620000000000001,0.101,0.102,0.241,0.483,0.628,0.513,0.262,0.102,0.203]
[]
[]
[]
[{"$nulls":5},0,45,90,135,180,225,270,315]
[{"$nulls":5},1,2,3,4,5,6,7,8]
[null,"Valgt måned",7]
[{"$nulls":8},"Døgnmid",null,"Max time"]
[null,"Find opslag","Vindue","Orientering",{"$nulls":5},"Interpol",{"$nulls":4},"Interpol"]
[null,null,1,240,6,6,7,3.114,3.132,3.12,15,16,0.765,0.874,0.8013333333333333]
[null,null,2,180,5,5,6,3.096,3.114,3.096,14,15,0.686,0.765,0.686]
[null,null,3,120,3,3,4,3.132,3.114,3.12,12,13,0.874,0.768,0.8033333333333333]
[null,null,4,0,9,9,9,5.136,5.136,5.136,18,18,0.892,0.892,0.892]
[null,null,5,0,9,9,9,5.136,5.136,5.136,18,18,0.892,0.892,0.892]

{"sheet":"RESULT","index":2,"n_rows":27,"n_cols":11,"rows_kept":27,"cut":false,"hidden":false,"merged":[[2,1,2,2]],"flags":["formulas_cached_only"]}
[null,"Resultater"]
[null,"Projekt:"]
[null,"lejlighed A"]
[]
[null,"For valgt måned:",null,"Juli","tu = ",21,"°C"]
[]
[null,"Hvis ventilationsluften har samme temperatur som udeluften"]
[null,"Døgnmiddeltemperatur",null,null,"ti =",23.44556645781613,"°C"]
[null,"Temperaturvariation",null,null,"Dti =",2.875611838874686,"°C"]
[null,"Maksimaltemperatur",null,null,"timax =",24.883372377253473,"°C"]
[]
[]
[]
[null,"Supplerende beregninger"]
[]
[null,"Hvis ventilationsluften har konstant temperatur lig udeluftens døgnmiddeltemperatur"]
[null,"Døgnmiddeltemperatur",null,null,"ti =",23.44556645781613,"°C"]
[null,"Temperaturvariation",null,null,"Dti =",1.4401493842085211,"°C"]
[null,"Maksimaltemperatur",null,null,"timax =",24.165641149920393,"°C"]
[]
[]
[]
[null,"Beregning hvor ventilationsluften har konstant indblæsningstemperatur der er Dt =",{"$nulls":7},2,"°C lavere end udeluftens døgnmiddeltemperatur"]
[null,"Hvis ventilationsluften har konstant temperatur på",{"$nulls":4},19,"°C "]
[null,"Døgnmiddeltemperatur",null,null,"ti =",21.661667651810692,"°C"]
[null,"Temperaturvariation",null,null,"Dti =",1.4401493842085211,"°C"]
[null,"Maksimaltemperatur",null,null,"timax =",22.381742343914954,"°C"]

{"sheet":"Vejrdata_KBH","index":3,"n_rows":55,"n_cols":25,"rows_kept":55,"cut":false,"hidden":true,"merged":[[39,9,39,15],[40,9,40,15],[39,16,40,17],[22,0,23,0],[39,0,40,0],[39,1,39,6],[40,1,40,6],[39,7,40,8],[39,18,39,24],[40,18,40,24],[41,1,41,4],[41,5,41,6],[41,7,41,8],[41,9,41,13],[41,14,41,15],[41,16,41,17],[41,18,41,22],[41,23,41,24],[42,4,42,5],[42,6,42,7],[42,8,42,9],[42,13,42,14],[42,15,42,16],[42,17,42,18],[42,22,42,23],[43,4,43,5],[43,6,43,7],[43,8,43,9],[43,13,43,14],[43,15,43,16],[43,17,43,18],[43,22,43,23],[44,4,44,5],[44,6,44,7],[44,8,44,9],[44,13,44,14],[44,15,44,16],[44,17,44,18],[44,22,44,23],[45,4,45,5],[45,6,45,7],[45,8,45,9],[45,13,45,14],[45,15,45,16],[45,17,45,18],[45,22,45,23],[46,4,46,5],[46,6,46,7],[46,8,46,9],[46,13,46,14],[46,15,46,16],[46,17,46,18],[46,22,46,23],[47,4,47,5],[47,6,47,7],[47,8,47,9],[47,13,47,14],[47,15,47,16],[47,17,47,18],[47,22,47,23],[48,4,48,5],[48,6,48,7],[48,8,48,9],[48,13,48,14],[48,15,48,16],[48,17,48,18],[48,22,48,23],[49,4,49,5],[49,6,49,7],[49,8,49,9],[49,13,49,14],[49,15,49,16],[49,17,49,18],[49,22,49,23],[50,4,50,5],[50,6,50,7],[50,8,50,9],[50,13,50,14],[50,15,50,16],[50,17,50,18],[50,22,50,23],[51,4,51,5],[51,6,51,7],[51,8,51,9],[51,13,51,14],[51,15,51,16],[51,17,51,18],[51,22,51,23],[52,4,52,5],[52,6,52,7],[52,8,52,9],[52,13,52,14],[52,15,52,16],[52,17,52,18],[52,22,52,23],[53,4,53,5],[53,6,53,7],[53,8,53,9],[53,13,53,14],[53,15,53,16],[53,17,53,18],[53,22,53,23],[54,15,54,16],[54,17,54,18],[54,22,54,23],[54,4,54,5],[54,6,54,7],[54,8,54,9],[54,13,54,14]],"flags":["formulas_cached_only"]}
["Vejrdata"]
[]
["København"]
[null,null,"Udendørs temperatur",null,"Solindfald, MJ/m2 pr. måned"]
["Måned","Antal dage",null,null,"Nord","NØ","Ø","SØ","Syd","SV","Vest","NV","Nord","Vandret"]
[{"$nulls":4},0,45,90,135,180,225,270,315,360]
["Jan",31,-1,null,18.748800000000003,30.132,41.5152,82.3608,123.2064,82.3608,41.5152,30.132,18.748800000000003,53.568]
["Feb",28,-0.5,null,38.7072,58.0608,77.4144,130.6368,183.85920000000002,130.6368,77.4144,58.0608,38.7072,113.70240000000001]
["Mar",31,1.9,null,74.99520000000001,114.50160000000001,154.008,206.90640000000002,259.8048,206.90640000000002,154.008,114.50160000000001,74.99520000000001,230.34240000000003]
["Apr",30,5.9,null,132.192,197.64000000000001,263.088,294.84000000000003,326.592,294.84000000000003,263.088,197.64000000000001,132.192,409.53600000000006]
["Maj",31,10.9,null,203.55840000000003,282.57120000000003,361.584,372.2976,383.0112,372.2976,361.584,282.57120000000003,203.55840000000003,583.8912]
["Jun",30,15.2,null,228.096,292.24800000000005,356.40000000000003,350.56800000000004,344.73600000000005,350.56800000000004,356.40000000000003,292.24800000000005,228.096,590.976]
["Jul",31,16.1,null,214.272,281.90160000000003,349.5312,347.5224,345.5136,347.5224,349.5312,281.90160000000003,214.272,573.1776000000001]
["Aug",31,15.9,null,152.6688,219.6288,286.58880000000005,328.10400000000004,369.61920000000003,328.10400000000004,286.58880000000005,219.6288,152.6688,479.4336]
["Sep",30,12.9,null,93.31200000000001,144.50400000000002,195.696,244.296,292.896,244.296,195.696,144.50400000000002,93.31200000000001,290.30400000000003]
["Okt",31,8.9,null,48.211200000000005,74.99520000000001,101.77920000000002,159.3648,216.9504,159.3648,101.77920000000002,74.99520000000001,48.211200000000005,152.6688]
["Nov",30,4.5,null,23.328000000000003,34.344,45.36,88.77600000000001,132.192,88.77600000000001,45.36,34.344,23.328000000000003,67.392]
["Dec",31,0.8,null,13.392,19.418400000000002,25.444800000000004,54.2376,83.0304,54.2376,25.444800000000004,19.418400000000002,13.392,37.497600000000006]
[]
[]
["København"]
[]
["Måned","Middeltemperatur for middeldøgn,","Middeltemperatur for maksimumsdøgn","Typisk temperaturvariation over døgnet "]
[null,"°C","°C","°C"]
["Januar",-1,3.9,5]
["Februar",-0.5,4.2,6]
["Marts",1.9,6.3,7.5]
["April",5.9,11.2,9]
["Maj",10.9,15.9,11.5]
["Juni",15.2,20,12]
["Juli",16.1,21,12]
["August",15.9,20.5,11]
["September",12.9,16.9,9]
["Oktober",8.9,13.7,7]
["November",4.5,10,5]
["December",0.8,6,5]
[]
[]
[]
["Måned","Maksimal timeværdi,",{"$nulls":7},"Maksimal døgnværdi,",{"$nulls":8},"Middel døgnværdi,"]
[null,"W/m2",{"$nulls":7},"Wh/m2 døgn",{"$nulls":8},"Wh/m2 døgn"]
[null,"Lodret",null,null,null,"Vandret",null,null,null,"Lodret",{"$nulls":4},"Vandret",null,null,null,"Lodret",{"$nulls":4},"Vandret"]
[null,"N","Ø","V","S",{"$nulls":5},"N","Ø","V","S",{"$nulls":5},"N","Ø","V","S"]
["Januar",78,388,388,848,848,260,260,null,null,288,1152,1152,4464,4464,1224,1224,null,null,168,372,372,1104,1104,480]
["Februar",183,597,597,992,992,478,478,null,null,744,2112,2112,4848,4848,2760,2760,null,null,384,768,768,1824,1824,1128]
["Marts",173,612,612,1004,1004,655,655,null,null,912,2868,2868,5976,5976,4128,4128,null,null,672,1380,1380,2328,2328,2064]
["April",204,814,814,895,895,825,825,null,null,1680,4500,4500,5184,5184,6576,6576,null,null,1224,2436,2436,3024,3024,3792]
["Maj",316,834,834,763,763,880,880,null,null,2040,4644,4644,5400,5400,7896,7896,null,null,1824,3240,3240,3432,3432,5232]
["Juni",277,904,904,697,697,913,913,null,null,2616,5100,5100,4752,4752,8016,8016,null,null,2112,3300,3300,3192,3192,5472]
["Juli",270,874,874,686,686,892,892,null,null,2328,4716,4716,4848,4848,8016,8016,null,null,1920,3132,3132,3096,3096,5136]
["August",211,733,733,862,862,792,792,null,null,1560,4092,4092,4800,4800,6335,6335,null,null,1368,2568,2568,3312,3312,4296]
["September",187,743,743,854,854,687,687,null,null,1296,3036,3036,4512,4512,4728,4728,null,null,864,1812,1812,2712,2712,2688]
["Oktober",114,572,572,900,900,500,500,null,null,648,2040,2040,5064,5064,2832,2832,null,null,432,912,912,1944,1944,1368]
["November",84,372,372,861,861,310,310,null,null,360,1140,1140,3984,3984,1488,1488,null,null,216,420,420,1224,1224,624]
["December",57,247,247,760,760,203,203,null,null,216,696,696,3192,3192,768,768,null,null,120,228,228,744,744,336]

{"sheet":"Vejrdata_Porto","index":4,"n_rows":55,"n_cols":25,"rows_kept":55,"cut":false,"hidden":true,"merged":[[54,15,54,16],[54,17,54,18],[54,22,54,23],[54,4,54,5],[54,6,54,7],[54,8,54,9],[54,13,54,14],[52,15,52,16],[52,17,52,18],[52,22,52,23],[53,4,53,5],[53,6,53,7],[53,8,53,9],[53,13,53,14],[53,15,53,16],[53,17,53,18],[53,22,53,23],[52,4,52,5],[52,6,52,7],[52,8,52,9],[52,13,52,14],[50,15,50,16],[50,17,50,18],[50,22,50,23],[51,4,51,5],[51,6,51,7],[51,8,51,9],[51,13,51,14],[51,15,51,16],[51,17,51,18],[51,22,51,23],[50,4,50,5],[50,6,50,7],[50,8,50,9],[50,13,50,14],[48,15,48,16],[48,17,48,18],[48,22,48,23],[49,4,49,5],[49,6,49,7],[49,8,49,9],[49,13,49,14],[49,15,49,16],[49,17,49,18],[49,22,49,23],[48,4,48,5],[48,6,48,7],[48,8,48,9],[48,13,48,14],[46,15,46,16],[46,17,46,18],[46,22,46,23],[47,4,47,5],[47,6,47,7],[47,8,47,9],[47,13,47,14],[47,15,47,16],[47,17,47,18],[47,22,47,23],[46,4,46,5],[46,6,46,7],[46,8,46,9],[46,13,46,14],[44,15,44,16],[44,17,44,18],[44,22,44,23],[45,4,45,5],[45,6,45,7],[45,8,45,9],[45,13,45,14],[45,15,45,16],[45,17,45,18],[45,22,45,23],[44,4,44,5],[44,6,44,7],[44,8,44,9],[44,13,44,14],[42,15,42,16],[42,17,42,18],[42,22,42,23],[43,4,43,5],[43,6,43,7],[43,8,43,9],[43,13,43,14],[43,15,43,16],[43,17,43,18],[43,22,43,23],[42,4,42,5],[42,6,42,7],[42,8,42,9],[42,13,42,14],[39,18,39,24],[40,18,40,24],[41,1,41,4],[41,5,41,6],[41,7,41,8],[41,9,41,13],[41,14,41,15],[41,16,41,17],[41,18,41,22],[41,23,41,24],[39,9,39,15],[40,9,40,15],[39,16,40,17],[22,0,23,0],[39,0,40,0],[39,1,39,6],[40,1,40,6],[39,7,40,8]],"flags":["formulas_cached_only"]}
["Vejrdata"]
[]
["Porto, Portugal"]
[null,null,"Udendørs temperatur",null,"Solindfald, MJ/m2 pr. måned"]
["Måned","Antal dage",null,null,"Nord","NØ","Ø","SØ","Syd","SV","Vest","NV","Nord","Vandret"]
[{"$nulls":4},0,45,90,135,180,225,270,315,360]
["Jan",31,9.4,null,70.9776,89.7264,108.4752,210.9798,313.4844,233.244,153.0036,111.9906,70.9776,195.07680000000002]
["Feb",28,10.7,null,84.9744,118.64160000000001,152.30880000000002,259.1568,366.0048,280.6272,195.2496,140.112,84.9744,266.8176]
["Mar",31,11.6,null,127.782,183.52620000000002,239.27040000000002,342.6678,446.0652,382.34159999999997,318.618,223.2,127.782,442.49399999999997]
["Apr",30,13.2,null,171.288,240.786,310.284,374.328,438.37199999999996,424.71,411.048,291.168,171.288,619.164]
["Maj",31,14.5,null,217.50840000000002,280.4508,343.39320000000004,359.5194,375.6456,429.2694,482.89320000000004,350.2008,217.50840000000002,693.0360000000001]
["Jun",30,17.8,null,234.576,302.508,370.44,355.968,341.49600000000004,417.69,493.88399999999996,364.22999999999996,234.576,758.052]
["Jul",31,19,null,209.58480000000003,279.1116,348.6384,351.7632,354.88800000000003,418.7232,482.5584,346.0716,209.58480000000003,740.8008]
["Aug",31,19.4,null,183.3588,253.5552,323.7516,372.744,421.7364,437.6394,453.5424,318.4506,183.3588,658.7747999999999]
["Sep",30,18,null,136.728,196.614,256.5,349.812,443.124,399.924,356.724,246.726,136.728,489.99600000000004]
["Okt",31,15.5,null,103.89959999999999,145.6938,187.488,303.3288,419.16960000000006,338.48280000000005,257.79600000000005,180.8478,103.89959999999999,337.2552]
["Nov",30,12.2,null,69.444,88.128,106.812,197.586,288.36,215.46,142.56,106.00200000000001,69.444,188.568]
["Dec",31,10.3,null,56.8044,74.38140000000001,91.95840000000001,188.93880000000001,285.9192,208.07819999999998,130.2372,93.52080000000001,56.8044,161.7084]
[]
[]
["Porto, Portugal"]
[]
["Måned","Middeltemperatur for middeldøgn,","Middeltemperatur for maksimumsdøgn","Typisk temperaturvariation over døgnet "]
[null,"°C","°C","°C"]
["Januar",9.4,14.4,8.6]
["Februar",10.7,14.7,7.5]
["Marts",11.6,15.1,7.9]
["April",13.2,18.9,8.5]
["Maj",14.5,18,7.8]
["Juni",17.8,22.8,8.4]
["Juli",19,25.1,8.7]
["August",19.4,25.5,8.9]
["September",18,21.8,7.3]
["Oktober",15.5,20.2,8.2]
["November",12.2,17.5,7.1]
["December",10.3,14.8,6.9]
[]
[]
[]
["Måned","Maksimal timeværdi,",{"$nulls":7},"Maksimal døgnværdi,",{"$nulls":8},"Middel døgnværdi,"]
[null,"W/m2",{"$nulls":7},"Wh/m2 døgn",{"$nulls":8},"Wh/m2 døgn"]
[null,"Lodret",null,null,null,"Vandret",null,null,null,"Lodret",{"$nulls":4},"Vandret",null,null,null,"Lodret",{"$nulls":4},"Vandret"]
[null,"N","Ø","V","S",{"$nulls":5},"N","Ø","V","S",{"$nulls":5},"N","Ø","V","S"]
["Januar",156,312,438,754,null,448,null,null,null,894,1283,1878,4085,null,2441,null,null,null,636,972,1371,2809,null,1748]
["Februar",181,464,647,822,null,639,null,null,null,1125,2110,2997,5106,null,4019,null,null,null,843,1511,1937,3631,null,2647]
["Marts",224,602,763,796,null,810,null,null,null,1612,2961,3904,5240,null,5749,null,null,null,1145,2144,2855,3997,null,3965]
["April",265,665,803,694,null,919,null,null,null,1915,3498,4615,4676,null,7211,null,null,null,1586,2873,3806,4059,null,5733]
["Maj",292,674,807,585,null,955,null,null,null,2532,3775,5067,3980,null,7837,null,null,null,1949,3077,4327,3366,null,6210]
["Juni",271,683,796,532,null,971,null,null,null,2782,4056,5183,3464,null,8123,null,null,null,2172,3430,4573,3162,null,7019]
["Juli",279,671,791,599,null,957,null,null,null,2273,3789,5006,3729,null,7981,null,null,null,1878,3124,4324,3180,null,6638]
["August",287,632,774,662,null,919,null,null,null,2122,3579,4921,4533,null,7246,null,null,null,1643,2901,4064,3779,null,5903]
["September",256,600,771,780,null,816,null,null,null,1915,2970,4432,5246,null,6046,null,null,null,1266,2375,3303,4103,null,4537]
["Oktober",199,526,686,801,null,680,null,null,null,1310,2368,3365,5225,null,4627,null,null,null,931,1680,2310,3756,null,3022]
["November",166,336,471,789,null,474,null,null,null,993,1441,2034,4456,null,2745,null,null,null,643,989,1320,2670,null,1746]
["December",162,307,452,786,null,399,null,null,null,658,1162,1825,4432,null,2202,null,null,null,509,824,1167,2562,null,1449]

{"sheet":"Vejrdata_Riyadh","index":5,"n_rows":55,"n_cols":25,"rows_kept":55,"cut":false,"hidden":true,"merged":[[39,9,39,15],[40,9,40,15],[39,16,40,17],[22,0,23,0],[39,0,40,0],[39,1,39,6],[40,1,40,6],[39,7,40,8],[39,18,39,24],[40,18,40,24],[41,1,41,4],[41,5,41,6],[41,7,41,8],[41,9,41,13],[41,14,41,15],[41,16,41,17],[41,18,41,22],[41,23,41,24],[42,4,42,5],[42,6,42,7],[42,8,42,9],[42,13,42,14],[42,15,42,16],[42,17,42,18],[42,22,42,23],[43,4,43,5],[43,6,43,7],[43,8,43,9],[43,13,43,14],[43,15,43,16],[43,17,43,18],[43,22,43,23],[44,4,44,5],[44,6,44,7],[44,8,44,9],[44,13,44,14],[44,15,44,16],[44,17,44,18],[44,22,44,23],[45,4,45,5],[45,6,45,7],[45,8,45,9],[45,13,45,14],[45,15,45,16],[45,17,45,18],[45,22,45,23],[46,4,46,5],[46,6,46,7],[46,8,46,9],[46,13,46,14],[46,15,46,16],[46,17,46,18],[46,22,46,23],[47,4,47,5],[47,6,47,7],[47,8,47,9],[47,13,47,14],[47,15,47,16],[47,17,47,18],[47,22,47,23],[48,4,48,5],[48,6,48,7],[48,8,48,9],[48,13,48,14],[48,15,48,16],[48,17,48,18],[48,22,48,23],[49,4,49,5],[49,6,49,7],[49,8,49,9],[49,13,49,14],[49,15,49,16],[49,17,49,18],[49,22,49,23],[50,4,50,5],[50,6,50,7],[50,8,50,9],[50,13,50,14],[50,15,50,16],[50,17,50,18],[50,22,50,23],[51,4,51,5],[51,6,51,7],[51,8,51,9],[51,13,51,14],[51,15,51,16],[51,17,51,18],[51,22,51,23],[52,4,52,5],[52,6,52,7],[52,8,52,9],[52,13,52,14],[52,15,52,16],[52,17,52,18],[52,22,52,23],[53,4,53,5],[53,6,53,7],[53,8,53,9],[53,13,53,14],[53,15,53,16],[53,17,53,18],[53,22,53,23],[54,15,54,16],[54,17,54,18],[54,22,54,23],[54,4,54,5],[54,6,54,7],[54,8,54,9],[54,13,54,14]],"flags":["formulas_cached_only"]}
["Vejrdata"]
[]
["Riyahd, Saudi Arabia"]
[null,null,"Udendørs temperatur",null,"Solindfald, MJ/m2 pr. måned"]
["Måned","Antal dage",null,null,"Nord","NØ","Ø","SØ","Syd","SV","Vest","NV","Nord","Vandret"]
[{"$nulls":4},0,45,90,135,180,225,270,315,360]
["Jan",31,14,null,113.83200000000001,207.7434,301.6548,442.04760000000005,582.4404000000001,434.45880000000005,286.47720000000004,200.15460000000002,113.83200000000001,478.6524]
["Feb",28,16.7,null,128.2176,216.972,305.7264,399.92400000000004,494.12160000000006,403.70400000000006,313.2864,220.752,128.2176,514.4832]
["Mar",31,20.3,null,166.73040000000003,267.95160000000004,369.17280000000005,407.56320000000005,445.9536,411.804,377.6544,272.1924,166.73040000000003,646.164]
["Apr",30,25.9,null,198.93599999999998,305.96399999999994,412.99199999999996,365.95799999999997,318.92400000000004,352.67400000000004,386.42400000000004,292.68,198.93599999999998,695.844]
["Maj",31,32.1,null,260.4744,350.98199999999997,441.4896,348.5826,255.6756,349.866,444.05639999999994,352.2654,260.4744,820.3716000000001]
["Jun",30,35.2,null,276.15600000000006,358.93800000000005,441.72,320.004,198.288,314.28,430.272,353.21400000000006,276.15600000000006,866.916]
["Jul",31,36.2,null,268.956,363.9276,458.8992,345.0672,231.2352,332.01,432.7848,350.8704,268.956,870.8148]
["Aug",31,36.4,null,209.4732,325.5372,441.6012,374.36220000000003,307.12320000000005,363.48120000000006,419.8392,314.6562,209.4732,825.84]
["Sep",30,33,null,159.73200000000003,280.908,402.084,414.504,426.92400000000004,403.596,380.26800000000003,270,159.73200000000003,735.912]
["Okt",31,27.6,null,128.4516,244.57140000000004,360.69120000000004,465.92999999999995,571.1687999999999,462.52619999999996,353.8836,241.1676,128.4516,658.6632]
["Nov",30,21.6,null,116.64,196.12800000000001,275.61600000000004,416.7180000000001,557.82,413.74800000000005,269.676,193.158,116.64,496.58399999999995]
["Dec",31,14.9,null,101.3328,169.74360000000001,238.1544,379.32840000000004,520.5024000000001,384.85260000000005,249.2028,175.2678,101.3328,405.108]
[]
[]
["Riyahd, Saudi Arabia"]
[]
["Måned","Middeltemperatur for middeldøgn,","Middeltemperatur for maksimumsdøgn","Typisk temperaturvariation over døgnet "]
[null,"°C","°C","°C"]
["Januar",14,21,10.5]
["Februar",16.7,23,11.9]
["Marts",20.3,27.4,11.2]
["April",25.9,30.9,12.9]
["Maj",32.1,35.5,11.6]
["Juni",35.2,37.8,12.6]
["Juli",36.2,38.4,13.2]
["August",36.4,38.2,13.8]
["September",33,35.2,12.7]
["Oktober",27.6,31.7,13]
["November",21.6,25.9,13.6]
["December",14.9,22.2,11.2]
[]
[]
[]
["Måned","Maksimal timeværdi,",{"$nulls":7},"Maksimal døgnværdi,",{"$nulls":8},"Middel døgnværdi,"]
[null,"W/m2",{"$nulls":7},"Wh/m2 døgn",{"$nulls":8},"Wh/m2 døgn"]
[null,"Lodret",null,null,null,"Vandret",null,null,null,"Lodret",{"$nulls":4},"Vandret",null,null,null,"Lodret",{"$nulls":4},"Vandret"]
[null,"N","Ø","V","S",{"$nulls":5},"N","Ø","V","S",{"$nulls":5},"N","Ø","V","S"]
["Januar",242,692,696,865,865,803,803,null,null,1411,3185,3132,6292,6292,5287,5287,null,null,1020,2703,2567,5219,5219,4289]
["Februar",272,754,761,808,808,928,928,null,null,1646,3567,3668,5960,5960,6309,6309,null,null,1272,3033,3108,4902,4902,5104]
["Marts",302,802,791,700,700,1023,1023,null,null,2060,4125,4185,5127,5127,7287,7287,null,null,1494,3308,3384,3996,3996,5790]
["April",407,814,804,558,558,1067,1067,null,null,2417,4664,4199,3655,3655,7998,7998,null,null,1842,3824,3578,2953,2953,6443]
["Maj",417,798,780,508,508,1078,1078,null,null,2823,4529,4352,2896,2896,8237,8237,null,null,2334,3956,3979,2291,2291,7351]
["Juni",426,765,752,421,421,1063,1063,null,null,3298,4351,4439,2785,2785,8262,8262,null,null,2557,4090,3984,1836,1836,8027]
["Juli",342,766,753,391,391,1058,1058,null,null,2989,4554,4314,2596,2596,8142,8142,null,null,2410,4112,3878,2072,2072,7803]
["August",385,779,762,485,485,1051,1051,null,null,2722,4330,4142,3423,3423,7917,7917,null,null,1877,3957,3762,2752,2752,7400]
["September",285,774,739,655,655,1019,1019,null,null,1921,4016,3765,4628,4628,7399,7399,null,null,1479,3723,3521,3953,3953,6814]
["Oktober",184,742,708,779,779,940,940,null,null,1298,3521,3451,5547,5547,6515,6515,null,null,1151,3232,3171,5118,5118,5902]
["November",214,619,625,824,824,806,806,null,null,1350,2803,2752,5432,5432,5183,5183,null,null,1080,2552,2497,5165,5165,4598]
["December",211,631,622,862,862,732,732,null,null,1261,2771,2810,6202,6202,4627,4627,null,null,908,2134,2233,4664,4664,3630]

{"sheet":"Vejrdata_Malaysia","index":6,"n_rows":55,"n_cols":25,"rows_kept":55,"cut":false,"hidden":true,"merged":[[39,9,39,15],[40,9,40,15],[39,16,40,17],[22,0,23,0],[39,0,40,0],[39,1,39,6],[40,1,40,6],[39,7,40,8],[39,18,39,24],[40,18,40,24],[41,1,41,4],[41,5,41,6],[41,7,41,8],[41,9,41,13],[41,14,41,15],[41,16,41,17],[41,18,41,22],[41,23,41,24],[42,4,42,5],[42,6,42,7],[42,8,42,9],[42,13,42,14],[42,15,42,16],[42,17,42,18],[42,22,42,23],[43,4,43,5],[43,6,43,7],[43,8,43,9],[43,13,43,14],[43,15,43,16],[43,17,43,18],[43,22,43,23],[44,4,44,5],[44,6,44,7],[44,8,44,9],[44,13,44,14],[44,15,44,16],[44,17,44,18],[44,22,44,23],[45,4,45,5],[45,6,45,7],[45,8,45,9],[45,13,45,14],[45,15,45,16],[45,17,45,18],[45,22,45,23],[46,4,46,5],[46,6,46,7],[46,8,46,9],[46,13,46,14],[46,15,46,16],[46,17,46,18],[46,22,46,23],[47,4,47,5],[47,6,47,7],[47,8,47,9],[47,13,47,14],[47,15,47,16],[47,17,47,18],[47,22,47,23],[48,4,48,5],[48,6,48,7],[48,8,48,9],[48,13,48,14],[48,15,48,16],[48,17,48,18],[48,22,48,23],[49,4,49,5],[49,6,49,7],[49,8,49,9],[49,13,49,14],[49,15,49,16],[49,17,49,18],[49,22,49,23],[50,4,50,5],[50,6,50,7],[50,8,50,9],[50,13,50,14],[50,15,50,16],[50,17,50,18],[50,22,50,23],[51,4,51,5],[51,6,51,7],[51,8,51,9],[51,13,51,14],[51,15,51,16],[51,17,51,18],[51,22,51,23],[52,4,52,5],[52,6,52,7],[52,8,52,9],[52,13,52,14],[52,15,52,16],[52,17,52,18],[52,22,52,23],[53,4,53,5],[53,6,53,7],[53,8,53,9],[53,13,53,14],[53,15,53,16],[53,17,53,18],[53,22,53,23],[54,15,54,16],[54,17,54,18],[54,22,54,23],[54,4,54,5],[54,6,54,7],[54,8,54,9],[54,13,54,14]],"flags":["formulas_cached_only"]}
["Vejrdata"]
[]
["Kuala Lumpur, Malaysia"]
[null,null,"Udendørs temperatur",null,"Solindfald, MJ/m2 pr. måned"]
["Måned","Antal dage",null,null,"Nord","NØ","Ø","SØ","Syd","SV","Vest","NV","Nord","Vandret"]
[{"$nulls":4},0,45,90,135,180,225,270,315,360]
["Jan",31,26.9,null,166.0608,218.62439999999998,271.188,293.229,315.27,273.1968,231.1236,198.5922,166.0608,390.59999999999997]
["Feb",28,27.1,null,151.704,215.0064,278.3088,272.4624,266.616,241.97039999999998,217.3248,184.51440000000002,151.704,407.43360000000007]
["Mar",31,27.8,null,197.97840000000002,266.16600000000005,334.35360000000003,288.8208,243.28799999999998,259.191,275.094,236.5362,197.97840000000002,508.44960000000003]
["Apr",30,27.1,null,186.192,237.6,289.008,269.838,250.66800000000003,269.244,287.82,237.006,186.192,504.684]
["Maj",31,27.8,null,167.958,230.2308,292.5036,298.9764,305.4492,279.5022,253.55519999999999,210.7566,167.958,465.59520000000003]
["Jun",30,27.4,null,167.4,210.00599999999997,252.61199999999997,281.07,309.528,285.93,262.332,214.86599999999999,167.4,417.42]
["Jul",31,26.8,null,174.4308,217.95480000000003,261.47880000000004,283.0734,304.668,290.6622,276.6564,225.54360000000003,174.4308,420.6204]
["Aug",31,27,null,177.44400000000002,223.1442,268.8444,263.8224,258.80039999999997,263.8782,268.956,223.20000000000002,177.44400000000002,451.42199999999997]
["Sep",30,26.3,null,197.964,235.81799999999998,273.67199999999997,247.32,220.96800000000002,249.42600000000002,277.884,237.924,197.964,445.06800000000004]
["Okt",31,26.4,null,188.93880000000001,234.7506,280.56239999999997,286.1982,291.834,294.345,296.856,242.8974,188.93880000000001,470.1708]
["Nov",30,25.8,null,165.56400000000002,209.62800000000001,253.692,279.126,304.56,273.996,243.432,204.498,165.56400000000002,392.68800000000005]
["Dec",31,25.9,null,163.04760000000002,203.8932,244.7388,282.627,320.5152,278.721,236.92680000000001,199.98720000000003,163.04760000000002,387.58680000000004]
[]
[]
["Kuala Lumpur, Malaysia"]
[]
["Måned","Middeltemperatur for middeldøgn,","Middeltemperatur for maksimumsdøgn","Typisk temperaturvariation over døgnet "]
[null,"°C","°C","°C"]
["Januar",26.9,28,8.8]
["Februar",27.1,28.2,8.3]
["Marts",27.8,29,9.5]
["April",27.1,28.5,8.8]
["Maj",27.8,29.1,8.6]
["Juni",27.4,29.4,8.7]
["Juli",26.8,27.7,8.8]
["August",27,28.8,8.3]
["September",26.3,27.9,8.3]
["Oktober",26.4,27.7,8.3]
["November",25.8,27.5,7.8]
["December",25.9,27.2,8.3]
[]
[]
[]
["Måned","Maksimal timeværdi,",{"$nulls":7},"Maksimal døgnværdi,",{"$nulls":8},"Middel døgnværdi,"]
[null,"W/m2",{"$nulls":7},"Wh/m2 døgn",{"$nulls":8},"Wh/m2 døgn"]
[null,"Lodret",null,null,null,"Vandret",null,null,null,"Lodret",{"$nulls":4},"Vandret",null,null,null,"Lodret",{"$nulls":4},"Vandret"]
[null,"N","Ø","V","S",{"$nulls":5},"N","Ø","V","S",{"$nulls":5},"N","Ø","V","S"]
["Januar",257,489,517,537,537,777,777,null,null,1829,2961,2906,3742,3742,4816,4816,null,null,1488,2430,2071,2825,2825,3500]
["Februar",271,586,568,492,492,996,996,null,null,1774,3244,2928,3322,3322,5779,5779,null,null,1505,2761,2156,2645,2645,4042]
["Marts",313,648,593,400,400,1011,1011,null,null,2069,3445,3255,2774,2774,5539,5539,null,null,1774,2996,2465,2180,2180,4556]
["April",305,576,636,404,404,1107,1107,null,null,2085,3139,3392,2748,2748,5795,5795,null,null,1724,2676,2665,2321,2321,4673]
["Maj",256,620,550,490,490,1074,1074,null,null,1781,3054,2967,3333,3333,5343,5343,null,null,1505,2621,2272,2737,2737,4172]
["Juni",242,464,500,456,456,785,785,null,null,1736,2624,2981,3380,3380,4914,4914,null,null,1550,2339,2429,2866,2866,3865]
["Juli",250,478,523,446,446,886,886,null,null,1822,2749,3107,3298,3298,4801,4801,null,null,1563,2343,2479,2730,2730,3769]
["August",285,558,637,407,407,927,927,null,null,2012,2905,3211,2943,2943,5388,5388,null,null,1590,2409,2410,2319,2319,4045]
["September",307,540,580,364,364,1048,1048,null,null,2186,3117,3525,2583,2583,5631,5631,null,null,1833,2534,2573,2046,2046,4121]
["Oktober",286,551,681,460,460,962,962,null,null,1911,3068,3457,3249,3249,5301,5301,null,null,1693,2514,2660,2615,2615,4213]
["November",258,502,556,523,523,866,866,null,null,1806,2817,3186,3633,3633,4996,4996,null,null,1533,2349,2254,2820,2820,3636]
["December",252,503,539,580,580,884,884,null,null,1778,2776,2883,3736,3736,4702,4702,null,null,1461,2193,2123,2872,2872,3473]